## Sheet1
ROOM | ROOM # | AREA (FT²) | HG (FT) | TOTAL AC/HR | 100% EA | CRICU EA | LOAD CFM | AC/HR CFM | 1 CFM/SF | 4-A DESIGNATION | AIRBALANCE RELATIONSHIP | MINIMUM OSA CHANGES PER HOUR | OSA CFM | ALL AIR EXHAUSTED | CALCULATED SA CFM | DESIGN SA CFM | RA CFM | EA CFM
DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
DUMMY | 1234 | 200 | 10 | 4 | NR | - | 0 | 140 | 200 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 70 | NR | 200 | 200 | 200 | 0
DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
|  | 100200 | [10 empty] | 33470 |  | 100200 | 100200 | 100200 | 0