## AH11_CAV_SCHEDULES
ZONE | BASIS OF DESIGN MANUFACTURER | DESCRIPTION | CFM | CAV INLET SIZE | MAX TOTAL CAV PD (IN W.G.) | EWT | DESIGN LWT | EAT | DESIGN LAT | MIN MBH | AGPM | GPM | MAX WATER PD (FT) | OPER WEIGHT (LBS) | MTG DETAIL | REMARKS
CAV-1-01 | TITUS | SINGLE DUCT REHEAT ZONE | 9500 | 16 | 0.5 | 140 | 110 | 55 | 85 | 307.8 | 20.52 | 20.52 | 5 | 60 | 0 | 1, 2
CAV-1-02 | TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 110 | 55 | 85 | 0 | 0 | 0.5 | 5 | TBD | 0 | 1, 2
Total | [9 empty] | 307.8 |  | 21.02
ADD ROWS
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Increase or decrease number of rows in this table to match the number of zones.