## AH1_VAV_SCHEDULES
ZONE | BASIS OF DESIGN MANUFACTURER | DESCRIPTION | MIN VAV (CFM) | MAX VAV (CFM) | VAV INLET SIZE (IN) | MAX TOTAL VAV PD (IN W.G.) | HEATING AIRFLOW (CFM) | EWT | DESIGN LWT | EAT | DESIGN LAT | MIN MBH | AGPM | GPM | MAX WATER PD (FT) | OPER WEIGHT (LBS) | MTG DETAIL | REMARKS
VAV-1-01 | TITUS | SINGLE DUCT REHEAT ZONE | 4740 | 8400 | 16 | 0.5 | 4740 | 140 | 110 | 55 | 80 | 128 | 8.5333 | 8.5333 | 5 | 60 | 0 | 1, 2
VAV-1-02 | TITUS | SINGLE DUCT REHEAT ZONE | 0 | 0 | TBD | 0.5 | 0 | 140 | 110 | 55 | 80 | 0 | 0 | 0.5 | 5 | TBD | 0 | 1, 2
VAV-1-01 | TITUS | SINGLE DUCT REHEAT ZONE | 4740 | 8400 | 16 | 0.5 | 4740 | 140 | 110 | 55 | 80 | 128 | 8.5333 | 8.5333 | 5 | 60 | 0 | 1, 2
VAV-1-01 | TITUS | SINGLE DUCT REHEAT ZONE | 4740 | 8400 | 16 | 0.5 | 4740 | 140 | 110 | 55 | 80 | 128 | 8.5333 | 8.5333 | 5 | 60 | 0 | 1, 2
VAV-1-01 | TITUS | SINGLE DUCT REHEAT ZONE | 4740 | 8400 | 16 | 0.5 | 4740 | 140 | 110 | 55 | 80 | 128 | 8.5333 | 8.5333 | 5 | 60 | 0 | 1, 2
VAV-1-01 | TITUS | SINGLE DUCT REHEAT ZONE | 4740 | 8400 | 16 | 0.5 | 4740 | 140 | 110 | 55 | 80 | 128 | 8.5333 | 8.5333 | 5 | 60 | 0 | 1, 2
VAV-1-01 | TITUS | SINGLE DUCT REHEAT ZONE | 4740 | 8400 | 16 | 0.5 | 4740 | 140 | 110 | 55 | 80 | 128 | 8.5333 | 8.5333 | 5 | 60 | 0 | 1, 2
VAV-1-01 | TITUS | SINGLE DUCT REHEAT ZONE | 4740 | 8400 | 16 | 0.5 | 4740 | 140 | 110 | 55 | 80 | 128 | 8.5333 | 8.5333 | 5 | 60 | 0 | 1, 2
VAV-1-01 | TITUS | SINGLE DUCT REHEAT ZONE | 4740 | 8400 | 16 | 0.5 | 4740 | 140 | 110 | 55 | 80 | 128 | 8.5333 | 8.5333 | 5 | 60 | 0 | 1, 2
VAV-1-01 | TITUS | SINGLE DUCT REHEAT ZONE | 4740 | 8400 | 16 | 0.5 | 4740 | 140 | 110 | 55 | 80 | 128 | 8.5333 | 8.5333 | 5 | 60 | 0 | 1, 2
VAV-1-01 | TITUS | SINGLE DUCT REHEAT ZONE | 4740 | 8400 | 16 | 0.5 | 4740 | 140 | 110 | 55 | 80 | 128 | 8.5333 | 8.5333 | 5 | 60 | 0 | 1, 2
VAV-1-01 | TITUS | SINGLE DUCT REHEAT ZONE | 4740 | 8400 | 16 | 0.5 | 4740 | 140 | 110 | 55 | 80 | 128 | 8.5333 | 8.5333 | 5 | 60 | 0 | 1, 2
Total | [11 empty] | 1408 |  | 94.3667
ADD ROWS
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Increase or decrease number of rows in this table to match the number of zones.