## Sheet1
ZONE | ROOM | ROOM # | AREA (FT²) | HG (FT) | TOTAL AC/HR | 100% EA | CRICU EA | LOAD CFM | AC/HR CFM | 1 CFM/SF | 4-A DESIGNATION | AIRBALANCE RELATIONSHIP | MINIMUM OSA CHANGES PER HOUR | OSA CFM | ALL AIR EXHAUSTED | CALCULATED SA CFM | DESIGN SA CFM | RA CFM | EA CFM
CAV-1-01 | DUMMY | 1234 | 1000 | 10 | 4 | NR | - | 0 | 670 | 1000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 340 | NR | 1000 | 1000 | 1000 | 0
CAV-1-02 | DUMMY | 1234 | 1000 | 10 | 4 | NR | - | 0 | 670 | 1000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 340 | NR | 1000 | 1000 | 1000 | 0
CAV-1-03 | GERGER | 1234 | 1000 | 10 | 4 | NR | - | 0 | 670 | 1000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 340 | NR | 1000 | 1000 | 1000 | 0
CAV-1-04 | GEGER | 1234 | 567 | 10 | 4 | NR | - | 0 | 380 | 567 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 190 | NR | 570 | 570 | 570 | 0
CAV-1-05 | FRFE | 1234 | 1000 | 10 | 4 | NR | - | 0 | 670 | 1000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 340 | NR | 1000 | 1000 | 1000 | 0
DW | FEFGER | 1234 | 4444 | 10 | 4 | NR | - | 0 | 2970 | 4444 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 1490 | NR | 4445 | 4445 | 4445 | 0
CAV-1-07 | DUMMY | 1234 | 1000 | 10 | 4 | NR | - | 0 | 670 | 1000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 340 | NR | 1000 | 1000 | 1000 | 0
CAV-1-08 | DUMMY | 1234 | 1000 | 10 | 4 | NR | - | 0 | 670 | 1000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 340 | NR | 1000 | 1000 | 1000 | 0
CAV-1-09 | DUMMY | 1234 | 1000 | 10 | 4 | NR | - | 0 | 670 | 1000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 340 | NR | 1000 | 1000 | 1000 | 0
CAV-1-10 | DUMMY | 1234 | 1000 | 10 | 4 | NR | - | 0 | 670 | 1000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 340 | NR | 1000 | 1000 | 1000 | 0
CAV-1-11 | DUMMY | 1234 | 1000 | 10 | 4 | NR | - | 0 | 670 | 1000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 340 | NR | 1000 | 1000 | 1000 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
|  |  | 14011 | [10 empty] | 4740 |  | 14015 | 14015 | 14015 | 0