## Sheet1
ZONE | ROOM | ROOM # | AREA (FT²) | HG (FT) | TOTAL AC/HR | 100% EA | CRICU EA | LOAD CFM | AC/HR CFM | 1 CFM/SF | 4-A DESIGNATION | AIRBALANCE RELATIONSHIP | MINIMUM OSA CHANGES PER HOUR | OSA CFM | ALL AIR EXHAUSTED | CALCULATED SA CFM | DESIGN SA CFM | RA CFM | EA CFM
DUMMY | DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
DUMMY | DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
JSHKDAKSFHJA | DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
DUMMY2 | DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
DUMMY3 | DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
DUMMY3 | DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
DUMMY5 | DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
DUMMY6 | DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
DUMMY6 | DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
DUMMY8 | DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
DUMMY9 | DUMMY | 1234 | 10000 | 10 | 4 | NR | - | 0 | 6670 | 10000 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 3340 | NR | 10000 | 10000 | 10000 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
[5 empty] | 4 | NR | - | 0 | 0 | 0 | PATIENT ROOM | NO REQUIREMENT FOR CONTINUOUS DIRECTIONAL CONTROL | 2 | 0 | NR | 0 | 0 | 0 | 0
|  |  | 110000 | [10 empty] | 36740 |  | 110000 | 110000 | 110000 | 0