## Sheet1
BASIS OF DESIGN MANUFACTURER | DESCRIPTION | CFM | CAV INLET SIZE | MAX TOTAL CAV PD (IN W.G.) | EWT | DESIGN LWT | EAT | DESIGN LAT | AGPM | GPM | MAX WATER PD (FT) | OPER WEIGHT (LBS) | MTG DETAIL | REMARKS
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
TITUS | SINGLE DUCT REHEAT ZONE | 0 | TBD | 0.5 | 140 | 100 | 55 | 85 | 0 | 0.5 | 5 | TBD | C1/M-501 | 1, 2
19